## BID TAB
NAPLES BASIN III Stormwater Improvements
BID TABULATION 8th St S (& 8th Ave S) |  |  |  |  | 2012-04-11
SUMMARY OF PAY ITEMS |  |  | Units | Unit Price | Est. Quant. | Cost
ITEM NO. | FDOT REF. | DESCRIPTION
1 | 101-1 | Mobilization | LS |  | 1
2 | 102-1 | Maintenance of Traffic | LS |  | 1
3 |  | Pre-construction Audio/Video Recording | LS |  | 1
4 | 104 | Stormwater Pollution Prevention Plan Implementation | LS |  | 1
5 |  | Permitting (Dewatering, NPDES) | LS |  | 1
6 |  | Utility Locates via Potholing | LS |  | 1
7 |  | Abandonment, Removal/Disposal of Existing Pipes
7a. | 430-830 | Grout-fill and Leave In-place | CY |  | 15 | 0
7b. |  | Remove & Dispose Reinforced Concrete Pipe | LF |  | 70 | 0
7c. |  | Remove & Dispose Asbestos-Containing Cementitious Pipe | LF |  | 595 | 0
8 |  | Sod Restoration (Including Private Irrgation Repairs)
8a. |  | Sod (Floratam) | SY |  | 877.7778 | 0
8b. |  | Sod (Bahia) | SY |  | 44.4444 | 0
8c. |  | Sod (Zoysia) | SY |  | 44.4444 | 0
9 |  | Road Restoration
9a. |  | Milling (0.75" Ave depth) | SY |  | 4183.5556 | 0
9b. | 331-1 (2000 Ed) | Type S-III (1.5") | SY |  | 4183.5556 | 0
9c. | 331-1 (2000 Ed) | Type S-III (0.75") | SY |  | 4124.7778 | 0
9d. | 285-706 | Optional Base Group 6 (8") | SY |  | 4124.7778 | 0
9e. | 160-4 | Type B Stabilization (12") | SY |  | 4542 | 0
9f. |  | Brick Paver/Concrete Crosswalks Restoration | SY |  | 130 | 0
9g. | 711-1 | Replace Pavement Markings and Signage | LS |  | 1
10 |  | Concrete Valley Gutter Restoration | LF |  | 2462 | 0
11 |  | Driveway and Swales Restoration
11a. |  | Concrete Driveway Restoration | SY |  | 60 | 0
11b. |  | Asphalt Driveway Restoration | SY |  | 319.1111 | 0
11c. |  | Brick Driveway Restoration | SY |  | 95.5556 | 0
12 | 522-1 | Sidewalk Removal and Replacement (5' wide x 4" thick) | LF |  | 420 | 0
13 | 430-17 | Furnish & Install Reinforced Concrete Drain Pipe
13a. |  | 24" RCP | LF |  | 927 | 0
13b. |  | 36" RCP | LF |  | 451 | 0
13c. |  | 42" RCP | LF |  | 1628 | 0
14 | 425-1-52 | Furnish & Install Ditch Bottom Inlets (Type C) | EA |  | 1 | 0
15 | 425-2-71 | Furnish & Install Storm Manholes (J-7) (Depth <10') | EA |  | 12 | 0
16 |  | Furnish & Install Special Structure S-035 | LS |  | 1
17 | 425-11 | Modify Existing Drainage Structures (Inlets/Manholes) | EA |  | 5 | 0
18 | 425-2-71 | Furnish & Install Conflict Boxes
18a. |  | Conflict Boxes (J-7) (Depth <5')* | EA |  | 3 | 0
18b. |  | Conflict Boxes (J-7) (Depth >5') | EA |  | 5 | 0
19 |  | Utility Conflict Avoidance
19a. |  | Deflection of Water Mains | EA |  | 11 | 0
19b. |  | Deflection/Restoration of Sanitary Sewer Lateral | EA |  | 24 | 0
19c. |  | Deflection/Restoration of Potable Water Service Lateral | EA |  | 12 | 0
19d. |  | Private Utilities: Coordination and Remedy of Conflicts | LS |  | 1
20 |  | Furnish and Install Gate Valves
20a. | 1080-11-304 | 6" Gate Valves | EA |  | 1 | 0
20b. | 1080-11-404 | 8" Gate Valves | EA |  | 2 | 0
20c. | 1080-11-404 | 12" Gate Valves | EA |  | 1 | 0
20d. |  | 8"x4" Tapping Valve & Sleeve and 4"x2" Reducer | EA |  | 2 | 0
20e. |  | 8"x6" Tapping Valve & Sleeve and 6" Plug | EA |  | 1 | 0
21 |  | Connect 6" C900 to existing 8" Water Main | LS |  | 1
22 |  | Layout Survey & Final As-Built Survey | LS |  | 1
|  | SubTotal |  |  | 0
23 |  | Allowance for Unforeseen Conditions (Calculated 10% of Subtotal) |  |  | 0
24 |  | Allowance for Landscaping (Calculated 1% of Subtotal) |  |  | 0
25-31 |  | Bid Alternate for Water Main Improvements |  |  | 0
|  | TOTAL BID PRICE |  |  | 0
Notes:
* | Only if determined to be needed
Official Company Representative
|  | Signature |  |  | Date
Printed Name

## BID TAB (Alt)
NAPLES BASIN III Alternate - Water Main Improvements
BID ALTERNATE TABULATION 8th St S (&8th Ave S) |  |  |  |  | 2012-04-11
SUMMARY OF PAY ITEMS |  |  | Units | Unit Price | Est. Quant. | Cost
ITEM NO. | FDOT REF. | DESCRIPTION
25 |  | General Requirements | LS |  | 1
26 |  | Furnish & Install Water Main
26a. |  | 6” C900 PVC WM Piping – Within Stormwater Project | LF |  | 475 | 0
26b. |  | 6” C900 PVC WM Piping | LF |  | 2200 | 0
27 |  | Fire Hydrant Assembly | EA |  | 4 | 0
28 |  | Water Main Connection
28a. |  | Water Main Connection – 3rd Street South | EA |  | 1 | 0
28b. |  | Water Main Connection – West Lake Dr. | EA |  | 2 | 0
28c. |  | Water Main Connection – East Lake Dr. | EA |  | 1 | 0
28d. |  | Water Main Connection – Park Street | EA |  | 1 | 0
28e. |  | Water Main Connection – 8th Street South | EA |  | 1 | 0
28f. |  | Water Main Connection – 9th Street South | EA |  | 1 | 0
29 |  | Furnish and Install Water Service
29a. |  | Single Water Service (Long Side) | EA |  | 11 | 0
29b. |  | Single Water Service (Long Side) | EA |  | 16 | 0
|  | SubTotal |  |  | 0
30 |  | Allowance for Unforeseen Conditions (Calculated 10% of Subtotal) |  |  | 0
31 |  | Allowance for Landscaping (Calculated 1% of Subtotal) |  |  | 0
|  | TOTAL BID PRICE |  |  | 0
Notes:
See Measurement and Payment Items included in Addendum
Official Company Representative
|  | Signature |  |  | Date
Printed Name